FACULTY OF ENGINEERING COMPUTING AND MATHEMATICS Chemical Storage and Handling Quick Reference Guide.

| Dangerous Goods Class | Storage & Segregation | Handling & Transport1 | Maximum Quantities2 |
| --- | --- | --- | --- |
| Explosives Class 1 | Contact UWA Safety and Health for advice |
| Flammable Gas Class 2.1 | Regulator required. Secure with a chain or strap 3m from ignition sources. Vent according to regulations. Do not store lying down. Do not store within 3m of Class 2.2 or 5 (Oxygen). | Use trolley to carry cylinder. | Cylinders must be secured in external gas store and low pressure gas piped in to the lab. Exceptionally, in lab connected to equipment only after risk analysis. For gases with low density (eg H2, CH4) lab MUST have high level exhaust 24/7.. |
| Non Toxic Non Flammable Gases & Cryogenic Liquids Class 2.2 | Non Toxic Non Flammable Gases Regulator required. Secured with chain or strap. Do not store lying down. Vent according to regulations. | Use trolley to carry cylinder. |  |
|  | Cryogenic Liquids Risk analysis as oxygen monitoring may be required. Vent exhaust away from users. Store in well ventilated area. | Use trolley for >10L. Carriers must be spill and break proof. Domestic vacuum flasks not permitted. | Max container size to be risk assessed considering oxygen depletion. Oxygen monitoring device may be required. |
| Oxidising Gas Class 2.2 | Regulator required. Secure with a chain or strap 3m from ignition sources. Vent according to regulations. Do not store lying down. Do not store within 3m of Class 2.1or 3. | Use trolley to carry cylinder. | Cylinders must be secured in external gas store and low pressure gas piped in to the lab. Exceptionally, in lab connected to equipment only after risk analysis |
| Toxic Gases Class 2.3 | Regulator required. Secured with chain or strap. Vent according to regulations. Do not store lying down. | Use trolley to carry cylinder. | Only cylinder in use and must be secured in an external gas store and piped in to the lab at low pressure. Exceptionally in lab ONLY if risk assessed ventilation. |
| Flammable Liquid Class 3 | Store in sealed container in a labelled standard fire-rated store cabinet or in small amounts throughout the lab. Consult AS1940 or AS3833 for alternative storage methods. Any refrigerator MUST be intrinsically safe Segregate from materials - at least 1m from other classes in a cabinet or cupboard. Store in spill tray. | Bund all liquids ( eg bunded carriers must be used for liquids (2.5L). | Max container size: 5L. Up to 10L per 50m2 of lab space. Greater quantities require dedicated storage cabinet complying with AS1940. |
| Flammable Solid Class 4.1 | Store as per supplier’s instructions. Consult AS3833 for alternative storage methods. Segregate from materials - at least 1m from other classes. Store in a sealed container. | Take all precautions as specified in the Safety Data Sheet. | Max size: 10 kg/L container. Up to 10 kg/L per 50m2 of lab floor space. Greater quantities require dedicated storage cabinet. *Note3 |
| Spontaneously Combustible Class 4.2 | Will ignite in contact with air or water. Store under oil or inert gas. Consult AS3833 for alternative storage methods. Segregate from materials - at least 1m from other classes. Store in a sealed container. |  |  |
| Dangerous when wet Class 4.3 | Keep away from moisture (eg sinks). Consult AS3833 for other storage methods. Segregate from materials - at least 1m from other classes. Store in a sealed container. |  |  |
| Dangerous Goods Class | Storage & Segregation | Handling & Transport1 | Maximum Quantities2 |
| Oxidising Agent Class 5.1 | Do not store with Classes 3 & 4. Consult AS3833 for other storage methods. Segregate from materials - at least 1m from other classes. Store in a sealed container. | Bund all liquids ( eg bunded carriers must be used for liquids (2.5L). Avoid use of breakable containers or double pack to absorb all contents if break or spill occurs. | Max size: 10 kg/L container. Up to 10 kg/L per 50m2 of lab floor space. Greater quantities require dedicated storage cabinet. *Note 3 |
| Organic Peroxide Class 5.2 | Do not store with Classes 3 & 4. Consult AS2714 or AS3833 for other storage methods. Segregate from materials - at least 1m from other classes. Store in a sealed container. |  |  |
| Toxic Class 6 | Toxic Solids Closed containers only. Consult AS4452 or AS3833 for other storage methods. S7 substances must be in locked cupboard. | Bund all liquids ( eg bunded carriers must be used for liquids (2.5L). Avoid use of breakable containers or double pack to absorb all contents if break or spill occurs. Avoid any contact including with dust. | Max size: 10 kg/L container for PG I, other PG 20kg/L per 50m2 of lab floor space. Max of 10 kg/L per 50m2 of lab floor space for PG I or 50 kg/L per 50m2 for other PGs. *Note 4 |
|  | Toxic Liquids Closed containers only. Consult AS4452 or AS3833 for other storage methods. Segregate by 1m from: Class 3 & 5 liquids and solids of all classes. S7 substances must be in locked cupboard. |  |  |
| Infectious Substances Class 6 | Laboratory must be signed. Storage area must be signed. Segregate from all other classes of materials Store in a sealed container. | Bund all liquids ( eg bunded carriers must be used for liquids (2.5L). Avoid use of breakable containers or double pack. Avoid contact with dust/liquid. | Max size: 5 kg/L container for liquids, 20 kg/L for solids. |
| Radioactive Materials Class 7 | Laboratory must be signed. Storage area must be signed. Monitoring must be conducted and results recorded. Segregate from materials by at least 1m. Store in a sealed container. | Store in appropriate container: Lead, Perspex, Other – as stipulated. | As per licence or registration. |
| Corrosives Class 8 | Acids Avoid interaction with alkalis. Segregate organic and mineral acids. Consult AS3780 or AS3833 for alternative storage methods. | Carriers for (2.5L quantities. Wear specified gloves. | Max size: 20 kg/L container. Up to 20 kg/L per 50 m2 of lab floor space for liquids. Up to 50 kg/L per 50 m2 of lab floor space for solids |
|  | Alkalis Avoid interaction with acids. Consult AS3780 or AS3833 for other storage methods. | Carriers for (2.5L quantities: Wear specified gloves. |  |
| Miscellaneous Class 9 | Avoid interaction with incompatible chemicals. Consult AS4681 or AS3833 for alternative storage methods. | As per specifications on product. Avoid contact with skin. | Max size:5 kg/L container for liquids, 20 kg/L for solids. Up to 50 kg/L per 50 m2 of lab floor space for liquids and 100 kg/L for solids. |

Note 1:  Use PPE defined in the Safety Data Sheet.

Note 2: For all Classes, hold the minimum practicable quantity.

Note 3: For Classes 4.1, 4.2, 4.3, 5.1 and 5.2 there may be up to 10 kg/L of any single class but the aggregate of all these classes is not to exceed 20 kg/L for each 50m2 of lab floor space.

Note 4: PGI means Packaging Group 1. Dangerous Goods are assigned a PG according to the level of hazard associated with the substance from PGI (greatest danger) to PG III (least danger) and is included on the MSDS if the chemical is a Dangerous Good.